|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **INOCULUM LAB** | | | | |
| **Equipment** | **Size** | **Power consumption (W)** | **Number** | **Picture** |
| Laminar Flow Hood | 1.78 x 0.59 x 2.20 | 69 | 1 |  |
| NucleoCounter® NC-200™ | 0.46 x 0.26 x 0.26 | 20 | 1 |  |
| Combined refrigerator-  freezer | 0.6 x 0.7 x 2.01 | 2900 | 1 |  |
| Large-Capacity Reach-In CO2 Incubator | 0.96 x 0.92 x 2.03 |  | 1 |  |
| SWBR17 SHEL LAB Shaking Water bath | 0.65 x 0.41 x 0.4 | 900 | 1 |  |
| Large Benchtop | 2.83 x 0.80 x 0.80 | - | 1 |  |
| Large Laboratory Bench | 2.49 x 0.98 x 0.80 | - | 2 |  |
| Chair | 0.66 x 0.66 x 0.86 | - | 1 |  |
| Desktop Computer | 0.57 x 0.32 x 0.50 | 200 | 1 |  |
| Biohazard trash | 0.4 x 0.67 x 0.33 | - | 1 |  |
| Inverted microscope | 0.34 x 0.51 x 0.61 | 3 | 1 |  |
| Stool | 0.4 x 0.35 x 0.59 | - | 1 |  |
| Cell culture media | 0.12 x 0.12 x 0.28 | - | 1 |  |
| INFORS Multitron II Stackable incubation shaker | 1.1 x 0.88 x 0.55 | 330 | 1 |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **USP – SEEDING** | | | | |
| **Equipment** | **Size** | **Power consumption (W)** | **Number** | **Picture** |
| Allegro™ STR  200 L Single-  Use Jacketed  Stirred Tank Bioreactor | 1.62 x 1.17 x 2.12 |  | 1 |  |
| Allegro™ XRS 25 Bioreactor System | 0.90 x 0.60 x 0.62 | - | 1 |  |
| Double Benchtop | 1.52 x 1.55 x 1.18 | - | 2 |  |
| Biohazard trash | 0.4 x 0.67 x 0.33 | - | 1 |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **USP - PRODUCTION** | | | | |
| **Equipment** | **Size** | **Power** | **Number** | **Picture** |
| Allegro™ STR  2000 L Single-  Use Stirred  Tank Bioreactor | 1.78 x 1.74 x 2.93 | - | 3 |  |
| Desktop Computer | 0.57 x 0.32 x 0.50 | 200 | 1 |  |
| Corded telephone | 0.24 x 0.3 x 0.04 | 2 | 1 |  |
| Biohazard trash | 0.4 x 0.67 x 0.33 | - | 2 |  |
| Small laboratory bench | 1.51 x 0.69 x 0.81 | - | 1 |  |
| Chair | 0.66 x 0.66 x 0.86 | - | 1 |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **DEPTH FILTRATION** | | | | |
| **Equipment** | **Size** | **Power** | **Number** | **Picture** |
| Stax™ Disposable Depth Filter System | 0.80 x 1.15 x 1.94 | - | 1 |  |
| Allegro MVP Single-use system with Watson Marlow pump | 0.96 x 1.28 x 1.13 |  | 1 |  |
| Allegro™ 3D  2000 L Modular  Tote | 1.26 x 1.07 x 3.01 | - | 1 |  |
| Biohazard trash | 0.4 x 0.67 x 0.33 | - | 1 |  |
| Stock Shelves | 1.40 x 0.30 x 2.00 | - | 1 |  |